## Ark2
Parameter | Kat. | Enhed | Metode | Boringskontrol | Gruppe B m/flush Vandværk | Gruppe A+ m/flush Vandværk | Gruppe B m/flush Ledningsnet | Gruppe A m/flush Ledningsnet | Gruppe B u/flush Taphane | Gruppe A u/flush Taphane | Mikrobiologi | Udskylnings- pakke | Enkeltstoffer | BTEX | Jern + Mangan | Ammonium, Nitrit, Nitrat | Genvinding Søndre VV Vejle | Slampakke | Udløb slambassiner | Skyllevand til recipient | MTBE (+ nedbrydningsprodukter)
|  |  |  | BO | B VV | A+ VV | B LED | A LED | B TAP | A TAP | M | UDSKYL |  | BTEX | Fe+Mn | NH4,NO2,NO3 | GEN SDR | SL | UDLØB SL | SKYLLEVAND | MTBE+
Coliforme bakterier | Mikro | Pr. 100 ml | Colilert | X | X | X |  | X |  | X | X | X |  |  |  |  | X
Enterokokker | Mikro | Pr. 100 ml | Colilert | X | X |  | X |  | X |  |  |  | X
Escherichia coli (E. coli) | Mikro | Pr. 100 ml | Colilert | X | X | X |  | X |  | X | X | X |  |  |  |  | X
Kimtal ved 22 °C | Mikro | Pr. ml |  | X | X | X |  | X |  | X | X | X |  |  |  |  | X
Kimtal ved 37 °C | Mikro | Pr. ml | [9 empty] | X |  |  |  |  | X
Clostridium perfringens | Mikro | Pr. 100 ml | [10 empty] | X
Pseudomonas Auriginosa | Mikro | Pr. 100 ml | [10 empty] | X
Benzen6) | BTEX | μg/L |  | X | X |  | X |  | X |  |  |  |  | X
Ethylbenzen | BTEX | μg/L | [11 empty] | X
Toluen | BTEX | μg/L | [11 empty] | X
Xylener, o og m+p | BTEX | μg/L | [11 empty] | X
Aggressiv kuldioxid9) (CO2) | Hovedbest | mg/L |  | X | X
Ammonium (NH4 +) | Hovedbest | mg/L |  | X | X |  | X |  | X |  |  |  | X |  |  | X
Bikarbonat (HCO3-) | Hovedbest | mg/L |  | X | X
Calcium (Ca) | Hovedbest | mg/L |  | X | X |  | X |  | X | [10 empty] | X
Chlorid (Cl-) | Hovedbest | mg/L |  | X | X |  | X |  | X
Farve | Hovedbest | mg Pt/L |  | X | X | X |  | X |  | X
Fluorid (F-) | Hovedbest | mg/L |  | X | X |  | X |  | X
Hårdhed, total | Hovedbest | ºdH |  | X | X | X | X |  | X
Ilt (O2) | Hovedbest | mg/L |  | X | X | X |  | X |  | X
Inddampningsrest | Hovedbest | mg/L |  | X | X
Kalium12) (K) | Hovedbest | mg/L |  | X
Ledningsevne | Hovedbest | μS/cm |  | X | X | X |  | X |  | X
Lugt Smag | Hovedbest | Subjektiv bedømmelse |  | X | X | X |  | X |  | X
Methan9) (CH4) | Hovedbest | mg/L |  | X | X
Nitrat (NO3- ) | Hovedbest | mg/L |  | X | X |  | X |  | X |  |  |  | X |  |  | X
Nitrit (NO2-) | Hovedbest | mg/L |  | X | X |  | X |  | X |  |  |  | X |  |  | X
NVOC (C) | Hovedbest | mg/L |  | X | X |  | X |  | X
pH | Hovedbest | pH-enhed |  | X | X | X |  | X |  | X | [6 empty] | X
Sulfat (SO4 2-) | Hovedbest | mg/L |  | X | X |  | X |  | X
Svovlbrinte9) (H2S) | Hovedbest | mg/L |  | X | X
Temperatur | Hovedbest | ºC |  | X | X | X |  | X |  | X | X | X |  |  |  |  | X
Totalt phosphor- indhold11) (P) | Hovedbest | mg/L |  | X
Turbiditet | Hovedbest | NTU |  | X | X | X |  | X |  | X |  |  | X
Aluminium (Al) | uorg. S | μg/L |  | X | X |  | X |  | X
Antimon (Sb) | uorg. S | μg/L |  | X | X |  | X |  | X
Arsen (As) | uorg. S | μg/L |  | X | X |  | X |  | X | [8 empty] | X |  | X
Barium (Ba) | uorg. S | µg/L |  | X | [15 empty] | X
Bly (Pb) | uorg. S | μg/L |  | X | X |  | X |  | X | [8 empty] | X
Bor (B) | uorg. S | mg/L |  | X | X |  | X |  | X | [10 empty] | X
Cadmium (Cd) | uorg. S | μg/L |  | X | X |  | X |  | X | [8 empty] | X
Chrom (Cr) | uorg. S | μg/L |  | X | X |  | X |  | X | [8 empty] | X
Cobolt (Co) | uorg. S | μg/L |  | X | X |  | X |  | X
Jern (Fe), total | uorg. S | μg/L |  | X | X | X |  | X |  | X |  |  | X |  | X |  | X |  | X | X
Jern II (opløst) | uorg. S | μg/L | [16 empty] | X | X
Jern III | uorg. S | μg/L | [16 empty] | X
Kobber (Cu) | uorg. S | mg/L |  | X | X |  | X |  | X | [8 empty] | X
Kviksølv (Hg) | uorg. S | μg/L |  | X | X |  | X |  | X
Magnesium (Mg) | uorg. S | mg/L |  | X | X |  | X |  | X
Mangan (Mn), total | uorg. S | μg/L |  | X | X |  | X |  | X |  |  |  | X |  | X |  | X
Natrium (Na), total | uorg. S | mg/L |  | X | X |  | X |  | X
Nikkel (Ni) | uorg. S | μg/L |  | X | X |  | X |  | X | [8 empty] | X
Selen (Se) | uorg. S | μg/L |  | X | X |  | X |  | X
Zink (Zn) | uorg. S | mg/L |  | X | X |  | X |  | X | [8 empty] | X
Cyanid (CN-) | uorg. S | μg/L |  | X | X |  | X |  | X
1,2-dichlorethan | org | μg/L |  | X | X |  | X |  | X
Acrylamid | org | μg/L |  | X | X |  | X |  | X
Chlordibrommethan | org | μg/L |  | X | X |  | X |  | X
Dichlorbrommethan | org | μg/L |  | X | X |  | X |  | X
dichlorethener | org | μg/L |  | X | X |  | X |  | X
dichlormethan | org | μg/L |  | X | X |  | X |  | X
Epichlorhydrin | org | μg/L |  | X | X |  | X |  | X
Pentachlorphenol | org | μg/L |  | X | X |  | X |  | X
tetrachlorethaner | org | μg/L |  | X | X |  | X |  | X
Tetrachlorethen | org | μg/L |  | X | X |  | X |  | X
Total olie6) | org | µg/L |  | X | X
Tribrommethan | org | µg/L |  | X | X |  | X |  | X
trichlorethaner | org | µg/L |  | X | X |  | X |  | X
Trichlorethen | org | µg/L |  | X | X |  | X |  | X
Trichlormethan (Chloroform) | org | µg/L |  | X | X |  | X |  | X
cis-1,2-dichlorethen | org | µg/L | [10 empty] | X
Vinylchlorid | org | μg/L |  | X | X |  | X |  | X |  |  |  | X
MTBE (ter-butylmethylether) | org. | μg/L | [10 empty] | X | [7 empty] | X
TBA (tert-butyl-alkohol) | org. | μg/L | [18 empty] | X
TBF (tert-butyl-formiat) | org. | μg/L | [18 empty] | X
Benz(a)pyren | PAH | μg/L |  | X | X |  | X |  | X
Benzo(b)fluoranthen | PAH | μg/L |  | X | X |  | X |  | X
Benzo(ghi)perylen | PAH | μg/L |  | X | X |  | X |  | X
benzo(k)fluoranthen | PAH | μg/L |  | X | X |  | X |  | X
Fluoranthen | PAH | µg/L |  | X | X |  | X |  | X
Indeno(1,2,3-cd)pyren | PAH | μg/L |  | X | X |  | X |  | X
2,4-Dichlorphenol3) | Pesticider | μg/L |  | X | X |  |  |  | X
2,6-DCPP (2-(2,6-dichlorphenoxy-propionsyre))3) | Pesticider | μg/L |  | X | X |  |  |  | X
2,6-Dichlorbenzosyre | Pesticider | μg/L |  | X | X |  |  |  | X
2,6-Dichlorphenol3) | Pesticider | μg/L |  | X | X |  |  |  | X
4CPP (2-(4-chlorphenoxy)propionsyre)3) | Pesticider | μg/L |  | X | X |  |  |  | X
4-Nitrophenol4) | Pesticider | μg/L |  | X | X |  |  |  | X
Aldrin | Pesticider | μg/L |  | X | X |  |  |  | X
AMPA (Aminomethylphosphorsyre) | Pesticider | μg/L |  | X | X |  |  |  | X
Atrazin | Pesticider | μg/L |  | X | X |  |  |  | X
BAM (2,6-Dichlorbenzamid) | Pesticider | μg/L |  | X | X |  | X |  | X |  |  |  | X
Bentazon | Pesticider | μg/L |  | X | X |  | X |  | X |  |  |  | X
CGA108906 N-(2-carboxy-6-methylphenyl) N-methoxy-acetyl)alanin 2) 5) | Pesticider | μg/L |  | X | X |  |  |  | X
CGA62826 N-(2, 6-dimethylphenyl)-N-(Methoxya-cetyl)alanin 2) 5) | Pesticider | μg/L |  | X | X |  |  |  | X
DEIA (Desethyldesisopropyl-atrazin) | Pesticider | μg/L |  | X | X |  |  |  | X
Desethyl-atrazin | Pesticider | μg/L |  | X | X |  |  |  | X
Desethyl-hydroxy-atrazin | Pesticider | μg/L |  | X | X |  |  |  | X
Desethyl-terbuthylazin | Pesticider | μg/L |  | X | X |  |  |  | X
Desisopropyl-atrazin | Pesticider | μg/L |  | X | X |  |  |  | X
Desisopropyl-hydroxy-atrazin | Pesticider | μg/L |  | X | X |  |  |  | X
Dichlobenil | Pesticider | μg/L |  | X | X |  |  |  | X
Dichlorprop | Pesticider | μg/L |  | X | X |  |  |  | X
Didealkyl-hydroxy-atrazin | Pesticider | μg/L |  | X | X |  |  |  | X
Dieldrin | Pesticider | μg/L |  | X | X |  |  |  | X
Diuron1) | Pesticider | μg/L |  | X | X |  |  |  | X
ETU (Ethylenthiourea) | Pesticider | μg/L |  | X | X |  |  |  | X
Glyphosat | Pesticider | μg/L |  | X | X |  |  |  | X
heptachlor | Pesticider | μg/L |  | X | X |  |  |  | X
heptachlorepoxid | Pesticider | μg/L |  | X | X |  |  |  | X
Hexazinon | Pesticider | μg/L |  | X | X |  |  |  | X
Hydroxy-atrazin | Pesticider | μg/L |  | X | X |  |  |  | X
Hydroxy-simazin | Pesticider | μg/L |  | X | X |  |  |  | X
MCPA | Pesticider | μg/L |  | X | X |  |  |  | X
Mechlorprop | Pesticider | μg/L |  | X | X |  |  |  | X
Metalaxyl/metalaxyl-M2) | Pesticider | μg/L |  | X | X |  |  |  | X
Desphenyl-chloridazon | Pesticider | μg/L |  | X | X |  | X |  | X |  |  |  | X
Methyl-desphenyl-chloridazon | Pesticider | μg/L |  | X | X |  |  |  | X |  |  |  | X
Metribuzin2) | Pesticider | μg/L |  | X | X |  |  |  | X
Metribuzin-desamino2) | Pesticider | μg/L |  | X | X |  |  |  | X
Metribuzin-desamino-diketo2) | Pesticider | μg/L |  | X | X |  |  |  | X
Metribuzin-diketo2) | Pesticider | μg/L |  | X | X |  |  |  | X
Simazin | Pesticider | μg/L |  | X | X |  |  |  | X
1, 2, 4-triazol | Pesticider | μg/L |  | X | X |  |  |  | X
N, N-dimethylsulfamid (DMS) | Pesticider | μg/L |  | X | X |  | X |  | X |  |  |  | X
6:2 FTS (6:2 fluorotelomersulfonsyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFBA (perfluorbutansyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFBS (perfluorbutansulfonsyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFDA (perfluordecansyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFHpA (perfluorheptansyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFHxA (perfluorhexansyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFHxS (perfluorhexansulfonsyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFNA (perfluornonansyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFOA (perfluoroctansyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFOS (perfluoroctansulfonsyre) | PFAS | μg/L |  | X | X |  |  |  | X
PFOSA (perfluoroctansulfonamid) | PFAS | μg/L |  | X | X |  |  |  | X
PFPeA (perfluorpentansyre) | PFAS |  |  | X | X |  |  |  | X
Bly pr. phosphorenhed | Slam |  | Beregning | [14 empty] | X
Cadmium pr. phosphorenhed | Slam |  | Beregning | [14 empty] | X
Diethylhexylphthalat (DEHP) | Slam |  | M0068 GC/MS | [14 empty] | X
Jern (Fe) | Slam |  | DS259/SM3120ICP | [14 empty] | X
Kviksølv | Slam |  | EN1483AFSco.vap | [14 empty] | X
Kviksølv pr. phosphorenhed | Slam |  | Beregning | [14 empty] | X
Kvælstof, total | Slam |  | NF 1975 | [14 empty] | X
LAS | Slam |  | M0005 HPLC/FL | [14 empty] | X
Nikkel pr. phosphorenhed | Slam |  | Beregning | [14 empty] | X
Nonylphenoldiethoxylater | Slam |  | M0068 GC/MS | [14 empty] | X
Nonylphenoler | Slam |  | M0068 GC/MS | [14 empty] | X
Nonylphenolmonoethoxylater | Slam |  | M0068 GC/MS | [14 empty] | X
PAH (9 stk) MS | Slam |  | M0068 GC/MS | [14 empty] | X
Phospor, total | Slam |  | DS259/SM3120ICP | [14 empty] | X
Tørstof | Slam |  | DS 204 mod. | [14 empty] | X